## Coal stations OS DATA (hidden)
Compensation Period: (15th to 31st May-2017 i.e for 17 days) for Partial Loading as per draft 4th Amendment of IEGC: Coal Stations
Station | On bar Hrs | ABT Perf |  |  | On Bar IC (MU) Gross | Actual
|  | On bar DC MU | SG in MU | AG MU |  | APC(%) | HR (Kcal/Kwh)
| % | MU
Bongaigaon | 0 | 0 | 0 | 0 | 0
Barh | 406.075 | 505.0932 | 443.175 | 432.8846 | 536.019 | 5.1215 | 2435
Farakka-1 | 397.067 | 591.347 | 472.5482 | 484.542 | 635.31 | 7.53 | 2474
Farakka-2 | 408 | 191.16 | 133.509 | 143.67 | 204 | 6.42 | 2477
Kahalgaon-1 | 381.33 | 286.4125 | 251.0825 | 251.4143 | 320.3172 | 9.46 | 2457
Kahalgaon-2 | 408 | 574.196 | 460.5586 | 471.9766 | 612 | 5.52 | 2411
Talcher Super-1 | 408 | 353.652 | 345.4892 | 342.3647 | 408 | 7.7419 | 2452.5
TTPS

## input_compensation (SP)
Annexure-I
Eastern Regional Power Committee
Compensation Calculation Period |  | from | 2017-05-15 | to | 2017-06-30
A. Data submitted by NTPC
Parameters
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
|  | IC | SHR_N | SFC_N | CVSF | LPPF | LPSFi | LC_N | LPL | AUX_N | SHR_A | SFC_A
Station Name |  | Installed capacity/MCR (in MW) | Normative SHR or Net SHR as the case may be (in kCal/kWh) | Normative SFC (in ml/kWh) | CVSF (in kCal/L) | LPPF (in Rs./MT) | LPSFi (in Rs./Kl) | Normative LC (in kg/kWh) | LPL (in Rs./kg) | Normative Aux. Cons (in %) | Actual GHR/SHR (in kCal/kWh) | Actual SFC (in ml/kWh)
Bongaigaon-1 |  | 250 | 2361.82 | 0.5 | 9420 | 5741.57 | 44303.77 |  |  | 9
Barh-2 |  | 1320 | 2247.8 | 0.5 | 9542.26 | 3811.99 | 50645.02 |  |  | 5.75
Farakka-1 |  | 1600 | 2403.13 | 0.5 | 9674 | 4600.3054 | 26588.5559 |  |  | 6.47
Farakka-3 |  | 456.9149 | 2436.62 | 0.5 | 9725 | 4600.31 | 26588.5559 |  |  | 5.75
Kahalgaon-1 |  | 840 | 2450 | 0.5 | 9937 | 3016.93 | 31029.71 |  |  | 9
kahalgaon-2 |  | 1500 | 2425 | 0.5 | 9921 | 3023.96 | 31916.4 |  |  | 5.75
Talcher Super-1 |  | 1000 | 2375 | 0.5 | 9993 | 2029.94 | 28598.11 |  |  | 5.75
Talcher-1 |  | 460 | 2850 | 0.5 | 9428 | 1748.12 | 45562.65 |  |  | 10.5 |  |  | 3408 | 0
|  | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22
|  | LC_A | AUX_A | CVPF |  |  | Outage Hr.
Station Name |  | Actual LC (in kg/kWh) | Actual Aux. Cons (in %) | CVPF (in kCal/kg,liter) | Run. Hrs. | Unit-1 | Unit-2 | Unit-3 | Unit-4 | Unit-5 | Unit-6 | Unit-7
Bongaigaon-1 |  |  |  | 5063 | 0 | Unit-1: 720
Barh-2 |  |  |  | 3757.96 | 1120.785 | Outage Hr. Unit-4: 10:35; Outage Hr. Unit-5: 3:51
Farakka-1 |  |  |  | 3987 | 1065.7545 | Outage Hr. Unit-3: 76:28; Outage Hr. Unit-4: 160:14; Outage Hr. Unit-5: 8:22
Farakka-3 |  |  |  | 3973 | 1113.933 | Outage Hr. Unit-6: 14:04
Kahalgaon-1 |  |  |  | 3023 | 918.4176 | Unit-1: 14:35; Outage Hr. Unit-2: 3:24; Outage Hr. Unit-3: 3:42; Outage Hr. Unit-4: 815:58
kahalgaon-2 |  |  |  | 3009 | 1089.3096 | Outage Hr. Unit-5: 98:46; Outage Hr. Unit-6: 17:13
Talcher Super-1 |  |  |  | 2891 | 1091.235 | Unit-1: 73:32
B. Compensation Calculation for the period 15.05.2017 to 30.06.2017
Station | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34
[5 empty] | REA TOTAL | Unit-1: SG RRAS(REA)/Exch; Outage Hr. Unit-2: REA TOTAL
| IC | AUX (Norm) | GHR (Norm) | Run. Hrs. | SG (MU) | MU | SG (MU) | AG(MU) | DC On Bar(MU) | DC Res. S/D(MWH) | LPPF_Cum | CVPF_Cum
Bongaigaon | 250 | 9 | 2375 | 0 | 0 | Unit-1: 0; Outage Hr. Unit-2: 0; Outage Hr. Unit-3: 0; Outage Hr. Unit-4: 0
Barh | 1320 | 5.75 | 2248 | 1120.785 | 1187.1273 | 14.3184 | 1172.8088 | 1141.0637 | 1375.0204 |  | 3811.99 | 3757.96
Farakka-1 | 1600 | 6.47 | 2403 | 1065.7545 | 1238.4512 | 20.5297 | 1217.9215 | 1221.1411 | 1569.2049 |  | 4600.3054 | 3987
Farakka-3 | 456.9149 | 5.75 | 2436.63 | 1113.933 | 360.738 | 29.3289 | 331.4091 | 355.3259 | 470.6792 |  | 4600.31 | 3973
Kahalgaon-1 | 840 | 9 | 2450 | 918.4176 | 595.7398 | 9.5566 | 586.1832 | 584.9004 | 697.279 |  | 3016.93 | 3023
Kahalgaon-2 | 1500 | 5.75 | 2425 | 1089.3096 | 1227.6699 | 44.1404 | 1183.5295 | 1221.4673 | 1530.8213 |  | 3023.96 | 3009
Talcher Super-1 | 1000 | 5.25 | 2375 | 1091.235 | 930.01 | -2.9126 | 932.9226 | 925.6025 | 966.9576 |  | 2029.94 | 2891
TTPS | 460 | 10.5 | 2850 | 1059.127 | 0 | 0 | 0 | 441.2408 | 441.3533 |  | 1748.12 | 3408
Station | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46
[5 empty] | AUL (SG/ACT) | COMP | %GHR (AUL SG)-IEGC (4th amend.) | %AUX (AUL SG)-IEGC (4th amend.) | GHR (AUL SG/ACT) | AUX (AUL SG/ACT) | AUL (DC) | %GHR (AUL DC)
| CVSF_Cum | LPSF_Cum, Rs/ml | AUX_Act_Cum | GHR_Act_Cum | % | Unit-1: Y/N
Bongaigaon |  |  | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Barh | 9542.26 | 0.050645 | 5.3252 | 2491 | 84.1104 | YES | 1.25 | 0.35 | 2276.1 | 6.1 | 98.6124 | 0
Farakka-1 | 9674 | 0.026589 | 7.97 | 2494 | 76.5663 | YES | 2.25 | 0.35 | 2457.0675 | 6.82 | 98.3901 | 0
Farakka-3 | 9725 | 0.026589 | 6.87 | 2513 | 74.0715 | YES | 4 | 0.65 | 2534.0952 | 6.4 | 98.1181 | 0
Kahalgaon-1 | 9937 | 0.03103 | 9.5807 | 2450.82 | 83.4973 | YES | 2.25 | 0.35 | 2505.125 | 9.35 | 99.3221 | 0
Kahalgaon-2 | 9921 | 0.031916 | 5.7731 | 2415.07 | 79.3155 | YES | 2.25 | 0.35 | 2479.5625 | 6.1 | 99.4032 | 0
Talcher Super-1 | 9993 | 0.028598 | 7.76 | 2477 | 90.2294 | NO | 0 | 0 | 0 | 0 | 0 | 0
TTPS | 9428 | 0.045563 | 10.427 | 2840 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Station | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58
| %AUX (AUL DC) | GHR (AUL DC) | AUX (AUL DC) | ECR_Nor | ECR_Act | ECR SG | ECR_DC | ECR COMP. AUL | ECR COMP. ACT | ECR TO BE USED | Compensation | Compensation
[11 empty] | Rs.Cr. | Rs.
Bongaigaon | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Barh | 0 | 2248 | 5.75 | 2.441 | 2.691 | 2.481 | 2.441 | 0.04 | 0.25 | 0.04 | 4.6912 | 46912353.5702
Farakka-1 | 0 | 2403 | 6.47 | 2.973 | 3.135 | 3.051 | 2.973 | 0.078 | 0.162 | 0.078 | 9.4998 | 94997877.1935
Farakka-3 | 0 | 2436.63 | 5.75 | 3.002 | 3.133 | 3.143 | 3.002 | 0.141 | 0.131 | 0.131 | 4.3415 | 43414586.1527
Kahalgaon-1 | 0 | 2450 | 9 | 2.699 | 2.717 | 2.77 | 2.699 | 0.071 | 0.018 | 0.018 | 1.0551 | 10551297.5911
Kahalgaon-2 | 0 | 2425 | 5.75 | 2.597 | 2.587 | 2.665 | 2.597 | 0.068 | 0 | 0 | 0 | 0
Talcher Super-1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TTPS | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
8.57
Station | FSTPS-1,2
Compensation In Rs. | 94997877.1935
Beneficiary | BSPHCL | JBVNL | DVC | Gridco | WBSEDCL | Sikkim | NVVN BPDP | NR | WR | SR | NER
Compensation Share to billed as per REA % | 0.4734 | 6.5078 | 2.2333 | 48.5219 | 21.662 | 8.7799 | 0 | 11.8218 | 0 | 0 | 0 | 100
Compensation In Rs. | 449720 | 6182247 | 2121557 | 46094759 | 20578415 | 8340713 | 0 | 11230466 | 0 | 0 | 0 | 94997877
Station | FSTPS-3
Compensation In Rs. | 43414586.1527
Compensation Share to billed as per REA % | 17.2701 | 6.6621 | 9.1963 | 47.7679 | 18.9872 | 0 | 0 | 0 | 0 | 0 | 0.11635 | 100
Compensation In Rs. | 7497759 | 2892317 | 3992547 | 20738245 | 8243207 | 0 | 0 | 0 | 0 | 0 | 50511 | 43414586
Station | KhSTPP-I
Compensation In Rs. | 10551297.5911
Compensation Share to billed as per REA % | 0 | 0 | 2.1375 | 29.8137 | 8.3376 | 4.0976 | 0 | 55.6137 | 0 | 0 | 0 | 100
Compensation In Rs. | 0 | 0 | 225535 | 3145730 | 879720 | 432345 | 0 | 5867967 | 0 | 0 | 0 | 10551298
Station | KhSTPP-II
Compensation In Rs. | 0
Compensation Share to billed as per REA % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Compensation In Rs. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Station | TSTPP
Compensation In Rs. | 0
Compensation Share to billed as per REA % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Compensation In Rs. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Station | Barh STPP
Compensation In Rs. | 46912353.5702
Compensation Share to billed as per REA % | 0 | 15.5574 | 0 | 84.4426 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100
Compensation In Rs. | 0 | 7298341 | 0 | 39614012 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 46912354
BSPHCL Bifurcation
NBPDCL |  | 3178992
SBPDCL |  | 4768487

## Outage Details ER Stations (hidden)
Plant | Unit | Reason | From Date | From Time | To Date | To Time | Outage Duration
ER STATIONS
Barh STPP-2 | UNIT05 | FORCED OUTAGE | 2017-05-22 | 17:40 | 2017-05-22 | 21:31 | 3:51:00 | 3.85 | 3.85 | 538560 | 2541 | 536019 | 406.075
Farakka STPS-1 | UNIT03 | FORCED OUTAGE | 2017-05-16 | 10:35 | 2017-05-19 | 15:03 | 76:28:00 | 76.4667 | 80.8667 | 652800 | 17493.3333 | 635306.6667 | 397.0667
Farakka STPS-1 | UNIT05 | FORCED OUTAGE | 2017-05-25 | 16:47 | 2017-05-25 | 21:11 | 4:24:00 | 4.4
Kahalgaon STPS-1 | UNIT01 | FORCED OUTAGE | 2017-05-15 | 11:19 | 2017-05-15 | 18:05 | 6:46:00 | 6.7667 | 106.6667 | 342720 | 22400 | 320320 | 381.3333
Kahalgaon STPS-1 | UNIT01 | FORCED OUTAGE | 2017-05-16 | 9:17 | 2017-05-16 | 13:13 | 3:56:00 | 3.9333
Kahalgaon STPS-1 | UNIT04 | PLANNED OUTAGE | 2017-05-28 | 0:02 | 2017-05-31 | 24:00 | 95:58:00 | 95.9667
NER STATION
Bongaigaon TPP-1 | UNIT01 | PLANNED OUTAGE | 2017-05-15 | 0:00 | 2017-05-31 | 24:00 | 408:00:00 | 408

## Compensation Calculation (hidden)
Station
|  |  |  | OS | OS | REA TOTAL | SG RRAS(REA) | REA TOTAL | OS | OS | OS | FIN | FIN | FIN | FIN | OS | OS | AUL (SG) | COMP | %GHR dr(AUL SG) | %APC dr(AUL SG) | GHR dr(AUL SG) | APC dr(AUL SG) | AUL (DC) | %GHR dr(AUL DC) | %APC dr(AUL DC) | GHR dr(AUL DC) | APC dr(AUL DC) | ECRnor | ECR act | ECR sg/se | ECR dc | ECR COMP. AUL | ECR COMP. ACT | ECR TO BE USED | Compensation
| IC | APC | GHR | Run. Hrs. | Outage Hr. | SG (MU) | MU | SG (MU) | AG(MU) | DC On Bar(MU) | DC Res. S/D(MWH) | LPPF_Cum | CVPF_Cum | CVSF_Cum | LPSF_Cum | APC_Act_Cum | GHR_Act_Cum | % | Y/N | [16 empty] | Rs.Cr.
Farakka-1 | 1600 | 6.47 | 2403 | [14 empty] | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Farakka-2 | 500 | 5.75 | 2436.63 | [14 empty] | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Kahalgaon-1 | 840 | 9 | 2450 | [14 empty] | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Kahalgaon-2 | 1500 | 5.75 | 2425 | [14 empty] | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Barh | 1320 | 5.75 | 2248 | 406.075 |  | 443.175 | 0 | 443.175 | 432.8846 | 505.0932 |  | #REF! | 3691.5541 | 9.888 | 0.048089 | 5.9664 | 2552.2467 | 87.7231 | NO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Talcher Super-1 | 1000 | 5.25 | 2375 | [14 empty] | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
TTPS | 460 | 10.5 | 2850 | [14 empty] | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Bongaigaon | 250 | 9 | 2375 | [14 empty] | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!

## Outage_details_NRPC FORMAT (hidden)
-----------------Northern Regional Power Committee-------------------
Information to be submitted by CGS and ISGS to the RPC Secretariat by 15th of each month for the previous month
Calculation Period |  | from | 2017-05-15 | to | 2017-05-31
Name of Owner Organisation | NTPC Limited
stn_code | Station name | unit_code | Unit Size (MW) | Whether Sub-critical/ Supercritical | Reason (RSD/Others) | From Date | From Time | To Date | To Time | Outage Duration | Loss in MU | Outage (No.) for the calculation period | Start Up Type (Hot/Warm/Cold) | Remarks
BGTPS_1D
BSTPS_2D
FSTPS_1D
FSTPS_3D
KHTPS_1D
KHTPS_2D
TSTPS_1D
TTPS_1D

## Outage_details
Outage Details
Plant | Unit | Reason | From Date | From Time | To Date | To Time | Outage Duration
ER
Farakka-I&II | UNIT03 | FORCED OUTAGE | 2017-05-16 | 10:35 | 2017-05-19 | 15:03 | 76:28:00
Farakka-I&II | UNIT05 | FORCED OUTAGE | 2017-05-25 | 16:47 | 2017-05-25 | 21:11 | 4:24:00
Farakka-I&II | UNIT-04 | FORCED OUTAGE | 2017-06-03 | 8:39 | 2017-06-07 | 0:55 | 88:16:00
Farakka-I&II | UNIT-04 | FORCED OUTAGE | 2017-06-08 | 12:25 | 2017-06-11 | 12:23 | 71:58:00
Farakka-I&II | UNIT-05 | FORCED OUTAGE | 2017-06-03 | 21:01 | 2017-06-04 | 0:59 | 3:58:00
Farakka-III | UNIT-06 | FORCED OUTAGE | 2017-06-15 | 21:39 | 2017-06-15 | 23:55 | 2:16:00
Farakka-III | UNIT-06 | FORCED OUTAGE | 2017-06-20 | 6:52 | 2017-06-20 | 9:21 | 2:29:00
Farakka-III | UNIT-06 | FORCED OUTAGE | 2017-06-20 | 17:11 | 2017-06-21 | 2:30 | 9:19:00
Barh-II | UNIT05 | FORCED OUTAGE | 2017-05-22 | 17:40 | 2017-05-22 | 21:31 | 3:51:00
Barh-II | UNIT-04 | FORCED OUTAGE | 2017-06-14 | 0:19 | 2017-06-14 | 9:02 | 8:43:00
Barh-II | UNIT-04 | FORCED OUTAGE | 2017-06-14 | 9:03 | 2017-06-14 | 10:06 | 1:03:00
Barh-II | UNIT-04 | FORCED OUTAGE | 2017-06-14 | 10:07 | 2017-06-14 | 10:56 | :49:00
Kahalgaon-I | UNIT01 | FORCED OUTAGE | 2017-05-15 | 11:19 | 2017-05-15 | 18:05 | 6:46:00
Kahalgaon-I | UNIT01 | FORCED OUTAGE | 2017-05-16 | 9:17 | 2017-05-16 | 13:13 | 3:56:00
Kahalgaon-I | UNIT04 | PLANNED OUTAGE | 2017-05-28 | 0:02 | 2017-05-31 | 24:00 | 95:58:00
Kahalgaon-I | UNIT-01 | FORCED OUTAGE | 2017-06-01 | 11:15 | 2017-06-01 | 15:48 | 4:33:00
Kahalgaon-I | UNIT-02 | FORCED OUTAGE | 2017-06-03 | 15:58 | 2017-06-03 | 19:22 | 3:24:00
Kahalgaon-I | UNIT-03 | FORCED OUTAGE | 2017-06-30 | 5:08 | 2017-06-30 | 8:50 | 3:42:00
Kahalgaon-I | UNIT-04 | PLANNED OUTAGE | 2017-06-01 | 0:00 | 2017-06-30 | 24:00 | 720:00:00
Kahalgaon-II | UNIT-05 | FORCED OUTAGE | 2017-06-06 | 1:44 | 2017-06-08 | 10:13 | 56:29:00
Kahalgaon-II | UNIT-05 | FORCED OUTAGE | 2017-06-20 | 22:15 | 2017-06-22 | 14:32 | 40:17:00
Kahalgaon-II | UNIT-05 | FORCED OUTAGE | 2017-06-23 | 11:05 | 2017-06-23 | 13:05 | 2:00:00
Kahalgaon-II | UNIT-06 | FORCED OUTAGE | 2017-06-01 | 9:38 | 2017-06-01 | 24:00 | 14:22:00
Kahalgaon-II | UNIT-06 | FORCED OUTAGE | 2017-06-02 | 0:00 | 2017-06-02 | 2:51 | 2:51:00
Talcher -I | UNIT-01 | FORCED OUTAGE | 2017-06-03 | 11:53 | 2017-06-03 | 20:46 | 8:53:00
Talcher -I | UNIT-01 | FORCED OUTAGE | 2017-06-15 | 21:05 | 2017-06-17 | 15:23 | 42:18:00
Talcher -I | UNIT-01 | FORCED OUTAGE | 2017-06-18 | 17:23 | 2017-06-19 | 15:44 | 22:21:00